## Worksheet
Field Type | Name Attribute | Unit | Description | Value | Required | Example | Version
configuration | id |  | Reference id for measurement data node |  | x | <device id=“1“ type=“tracker“> | 2.0.1
configuration | type |  | device type | tracker | x | <device id=“1“ type=“tracker“> | 2.0.1
configuration | uid |  | device unique identifier |  | x | <uid>TRK12345</uid> | 2.0.1
configuration | name |  | device name |  |  | <name>Tracker A</name> | 2.0.1
configuration | serial |  | device serial |  |  | <serial>TRK11.22.33</serial> | 2.0.1
configuration | vendor |  | device vendor |  |  | <vendor>vendor 123</vendor> | 2.0.1
configuration | model |  | device model |  |  | <model>Model A1.3</model> | 2.0.1
configuration | address |  | bus address |  |  | <address>1</address> | 2.0.1
configuration | firmware |  | device firmware |  |  | <firmware>1.23.3</firmware> | 2.0.1
configuration | tracker-type |  | Type of tracker (0 = Unknown / Not Set, 1 = Fixed / Documented orientation information, 2 = Single Axis Horizontal, 3 = Single Axis Tilted Horizontal, 4 = Single Axis Azimuth, 5 = Dual Axis, 99 = Other type) (not required) |  |  | <tracker-type>1</tracker-type>
datapoints | ACC_X | m/s² | Sensor acceleration on east-west axis
datapoints | ACC_Y | m/s² | Sensor acceleration on north-south axis
datapoints | ACC_Z | m/s² | Sensor acceleration on vertical axis
datapoints | AZIMUTH | ° | Actual azimuth position in degrees from true north towards east. Unimplemented for single axis horizontal tracker type
datapoints | AZIMUTH_MANUAL | ° | Global manual override target position of azimuth in degrees from true north towards east. Unimplemented for single axis azimuth tracker type
datapoints | AZIMUTH_TARGET | ° | Auto target azimuth in degrees from true north towards east. Unimplemented for single axis horizontal tracker type
datapoints | ELEVATION | ° | Actual elevation position in degrees from horizontal. Unimplemented for single axis azimuth tracker type
datapoints | ELEVATION_MANUAL | ° | Global manual override target position of elevation in degreees from horizontal. Unimplemented for single axis azimuth tracker type
datapoints | ELEVATION_TARGET | ° | Auto target elevation in degrees from horizontal. Unimplemented for single axis azimuth tracker type
datapoints | MODE |  | Mode of tracker (0 = Auto, follow programmed path, 1 = Manual, go to a fixed position, 2 = Storm, go to a fixed position, 3 = Calibrate, execute test mode, 4 = Clean, go to a fixed position)
datapoints | T[1..x] | °C | Temperatures
datapoints | TB_CAPACITY | mAh | Tracker battery full capacity
datapoints | TB_I | mA | Tracker battery current
datapoints | TB_REM_CAP | mAh | Tracker battery remaining capacity
datapoints | TB_SOC | % | Tracker battery SOC
datapoints | TB_SOH | % | Tracker battery SOH
datapoints | TB_U | V | Tracker battery voltage
datapoints | TRACKER_TYPE |  | Type of tracker (0 = Unknown / Not Set, 1 = Fixed / Documented orientation information, 2 = Single Axis Horizontal, 3 = Single Axis Tilted Horizontal, 4 = Single Axis Azimuth, 5 = Dual Axis, 99 = Other type) **Deprecated**
datapoints | STATE[1..x] |  | Global tracker state conditions
datapoints | ERROR[1..x] |  | Global tracker error conditions
datapoints | QS_TX |  | Telegrams transmitted (communication quality)
datapoints | QS_RX |  | Telegrams received (communication quality)